## Slide 1: Analysis of Event Position Dependence in HVeV Detectors with G4CMP and MEMS
Caitlyn Stone-Whitehead, Hope Fu

## Slide 2: HVeV Detectors
Channels consist of QETs wired in parallel
Silicon Substrate
Outer Channel
Inner Channel
Cu Holder
Cu Holder
Aluminum Grid
α-W TES
Al Collection Fin
Phonons
Quasiparticle-assisted Electrothermal feedback TESs (QETs)
[1] Kyle Kennard et al., arXiv:2601.16307 [physics.ins-det] (2026). https://doi.org/10.48550/arXiv.2601.16307

## Slide 3: HVeV Detectors
Silicon Substrate
Outer Channel
Inner Channel
Cu Holder
Aluminum Grid
High Voltage with eV-sensitivity
ΔV
Incoming Particle
Cu Holder
An incoming particle deposits energy in the Si​
X

## Slide 4: HVeV Detectors
Silicon Substrate
Outer Channel
Inner Channel
Cu Holder
Aluminum Grid
High Voltage with eV-sensitivity
ΔV
Cu Holder
An incoming particle deposits energy in the Si​
Prompt phonon and charge excitation​
X
Incoming Particle
2)
e-
h+

## Slide 5: HVeV Detectors
Silicon Substrate
Outer Channel
Inner Channel
Cu Holder
Aluminum Grid
High Voltage with eV-sensitivity
ΔV
Cu Holder
An incoming particle deposits energy in the Si​
Prompt phonon and charge excitation​
Charges produce NTL phonons when being accelerated due to the applied voltage
X
Incoming Particle
2)
e-
h+
3)
3)

## Slide 6: HVeV Detectors
Silicon Substrate
Outer Channel
Inner Channel
Cu Holder
Aluminum Grid
High Voltage with eV-sensitivity
ΔV
Cu Holder
An incoming particle deposits energy in the Si​
Prompt phonon and charge excitation​
Charges produce NTL phonon when being accelerated due to applied voltage
The phonons are either absorbed in the QET or lost to the Al Grid or Cu Holder
Incoming Particle
2)
4)
3)
4)
4)

## Slide 7: Micro-electro-mechanical-system (MEMS)
How does event position affect HVeV response?
Mirror
2eV Photons
Backside of HVeV device
Time
Amplitude
Inner Channel vs Outer Channel Pulse

## Slide 8: G4CMP Implementation
Silicon Substrate
Outer Channel
Inner Channel
Cu Holder
Cu Holder
Aluminum Grid
4 mm
1 cm ​
3.4 mm
Phonon absorption at boundaries specified using the Kaplan model for AMM and phonon lifetime / MFP [2,3]
KaplanQP implemented on QETs and Al grid
GDS
G4CMP
[2] S. B. Kaplan, “Acoustic matching of superconducting films to substrates,” J. Low Temp. Phys. 37, 343–365 (1979)
[3] S. B. Kaplan, C. C. Chi, D. N. Langenberg, J. J. Chang, S. Jafarey, and D. J. Scalapino, “Quasiparticle and phonon lifetimes in superconductors,” Phys. Rev. B 14, 4854–4873 (1976).

## Slide 9: Difference in Energy Collection between Channels in G4CMP
X (mm)
X (mm)
X (mm)
Y (mm)
Y (mm)
Y (mm)
Energy (eV)
Energy (eV)
Energy (eV)
0V
50V​
100V​
e-
h+
e-
h+

## Slide 10: Comparison to Data: 0V
Simulation
Data
Normalized ΔE between Channels
X (mm)
X (mm)
R (mm)
Y (mm)
Y (mm)
ΔE (Outer – Inner)
P R E L I M I N A R Y

## Slide 11: Comparison to Data: 50V
Simulation
Data
Normalized ΔE between Channels
Y (mm)
Y (mm)
X (mm)
X (mm)
R (mm)
ΔE (Outer – Inner)
P R E L I M I N A R Y

## Slide 12: Comparison to Data: 100V
Simulation
Data
Normalized ΔE between Channels
ΔE (Outer – Inner)
X (mm)
X (mm)
Y (mm)
Y (mm)
R (mm)
P R E L I M I N A R Y

## Slide 13: Pulse Simulation Results
Normalized Amplitude
Ideal Pulse
Time (us)
[4] N. A. Kurinsky, “The low-mass limit: dark matter detectors with eV-scale energy resolution,” Ph.D. thesis, Stanford University, 2018.

## Slide 14: Investigating Asymmetry in Data
Why is the data asymmetric?
What if loss to the holder is asymmetric?
Let each corner have its own loss probability...
Left = 20%, Right = 30%

## Slide 15: Conclusions and Future Work
G4CMP can reproduce position dependence seen in the MEMS+HVeV data...
G4CMP is a powerful tool for detector fiducialization
  and investigating detector loss!
Stay tuned for the upcoming HVeV-MEMS paper

## Slide 16: Acknowledgments
This work was supported by the U.S. Department of Energy Office of Science Graduate Student Research (SCGSR) program through contract number DE-SC0014664
This work was done by the Dark Matter/Quantum Information Science (DMQIS) Group at SLAC
Thank you!

## Slide 17: Questions?

## Slide 18: Additional Slides

## Slide 19: Quasiparticle-assisted Electrothermal feedback Transition Edge Sensors (QETs)
α-W TES
Al Collection Fin
Phonons
Phonons propagate to the Al collection fin
Phonons break Cooper pairs in the film
Liberated quasiparticles in the Al propagate to the α-W TES
Quasiparticles relax and emit phonons directly in the TES