## Slide 1: LAr Detector Technology for Neutrino Physics: Light Detection, MicroBooNE, and Beyond
M. Toups, MIT
SLAC Experimental Seminar
April 22, 2014

## Slide 2: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 3: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 4: Neutrinos in the Standard Model

## Slide 5: Neutrino Flavor Change a.k.a. “Oscillations”
KamLAND, Phys. Rev. D 83, 052002

## Slide 6: What Have We Learned from ν Oscillations?
Unitary Mixing Matrix
Neutrino Flavor Eigenstates
Neutrino Mass Eigenstates

## Slide 7: What More Can We Learn From ν Oscillations (I)?
“Inverted”
“Normal”
Mass Hierarchy

## Slide 8: What More Can We Learn From ν Oscillations (I)?
“Inverted”
“Normal”
Mass Hierarchy

## Slide 9: What More Can We Learn From ν Oscillations (II)?
Are there light sterile neutrinos?

## Slide 10: What More Can We Learn From ν Oscillations (II)?
Are there light sterile neutrinos?
LSND
MiniBooNE

## Slide 11: What More Can We Learn From ν Oscillations (III)?
?
Do neutrinos violate CP?
?

## Slide 12: What More Can We Learn From ν Oscillations (III)?
?
Do neutrinos violate CP?
?
VS.

## Slide 13: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in Lar
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 14
Mass Hierarchy & CP violation
  “Long baseline” (> 100 km) oscillation experiments
Sterile Neutrinos & MiniBooNE Low Energy Excess
  “Short baseline” (< 1 km) oscillation experiments
    OscSNS, MicroBooNE, plus a dozen others
T2K
LBNE
1300 km
810 km
NOvA

## Slide 15
Mass Hierarchy & CP violation
  “Long baseline” (> 100 km) oscillation experiments
Sterile Neutrinos & MiniBooNE Low Energy Excess
  “Short baseline” (< 1 km) oscillation experiments
    OscSNS, MicroBooNE, plus a dozen others
T2K
LBNE
1300 km
810 km
NOvA

## Slide 16
Mass Hierarchy & CP violation
  “Long baseline” (> 100 km) oscillation experiments
Sterile Neutrinos & MiniBooNE Low Energy Excess
  “Short baseline” (< 1 km) oscillation experiments
    OscSNS, MicroBooNE, plus a dozen others
T2K
LBNE
1300 km
810 km
NOvA

## Slide 17: Addressing the MiniBooNE “Low-Energy Excess”
MiniBooNE
~ 500 m

## Slide 18: Addressing the MiniBooNE “Low-Energy Excess”
LArTPC Detctor
Energy loss in first 2.4 cm of track
LArTPC = “Modern Bubble Chamber” with 3D track reconstruction
Liquid Argon Time Projection Chamber (LArTPC)
~ 500 m

## Slide 19: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 20
Bo Yu (BNL)

## Slide 21
Charged particle tracks ionize Argon atoms
n
40Ar
Bo Yu (BNL)

## Slide 22
Charged particle tracks ionize Argon atoms
Scintillation light (~ns) is detected by PMTs at same time
Bo Yu (BNL)

## Slide 23
Then ionized electrons are collected by anode wires (~ms)
Bo Yu (BNL)

## Slide 24
Then ionized electrons are collected by anode wires (~ms)
Electrons near the wires are collected first, and electrons far from the wires are collected last, so drift coordinate information is converted to electron drift time
Bo Yu (BNL)

## Slide 25: Why LAr?
Relatively inexpensive, easy to obtain, easy to purity
Ionization electrons can be drifted over large distances
Good dielectric properties accommodate high voltages necessary for large drift fields
Bright scintillator (transparent to its own scintillation light)
M. Soderberg

## Slide 26: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 27: The MicroBooNE Detector
Largest LArTPC in America (80 ton active mass)
8256 wires (3 mm pitch)
  3456 collection channels (oriented vertically)
  4800 induction channels (oriented at ±60˚)
32 8” Cryogenic PMTs + 4 light guide “paddles”
UV laser calibration system
2.3 m
PMTs
Anode Wires
HV Cathode
ν beam
Drift

## Slide 28: MicroBooNE Goals
Address MiniBooNE low energy excess
ν cross section measurements on Argon
R&D for future LArTPCs
  Long drift length (2.5 m)
  Cold electronics (CMOS ASICs in LAr)
  LAr fill without evacuation (GAr purge)
Related to scalability

## Slide 29: Light Detection in MicroBooNE
Provides interaction time for non-accelerator events
Triggers detector readout
Input to reconstruction (particle ID, lower Ethresh, etc.)
Cosmic background rejection
  Essential for a surface LArTPC!
Test bed for future technologies (light guide detectors)
Induction Plane 1
Induction Plane 2
Collection Plane
Time
1.6 ms
Wire number
~10 m
Ben Jones

## Slide 30: Our Role in MicroBooNE
T. Briese, et. al., JINST 8 (2013) T07005
B. Jones
T. Katori
M. Toups
M. Toups, B. Jones, E. James, J. Conrad

## Slide 31: Light Detection Beyond MicroBooNE
Dark matter, neutron EDM, neutrinoless double beta-decay, etc.

## Slide 32: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 33: Production Pathways
Ar
Ar
p
+
Ar
Ar
*
*
Ar
Ar
γ
e
Ar
Ar
+
-
Ar
e
-
+
Ar
Ar
*
Triplet excimer
Singlet excimer
τ ~ 6 ns
τ ~ 1.5 μs
Self-trapped exciton luminescence
Recombination luminescence
128 nm
Production ratio depends on ionization density particle ID!
Notes: ----- Meeting Notes (12/9/11 16:36) -----

## Slide 34: Quenching Processes
N
N
Ar
Ar
*
N
N
Ar
Ar
Ar
e
Ar
e
-
-
+
+
Ar
e
Ar
e
+
+
-
-
E-field
By trace impurities
In an electric field
Sets strict limits on impurity concentrations in LArTPCs

## Slide 35: Propagation: LAr is self-transparent
D.E. Grosjean et al., Phys. Rev. B 56 (1997) 6975-6981.

## Slide 36: Wavelength-shift to Visible Spectrum
Tetraphenyl butadiene (TPB)
TPB evaporative coating
V. Gehman et al, NIM A 654, 116 (2011)
C.S. Chiu, et al. JINST 7 (2012) P07007
B.J.P. Jones, et al JINST 8 (2013) P01013

## Slide 37: Photodetection
128 nm light
450 nm light
TPB-coated acrylic plate
LAr 128 nm scintillation light
SiPM / PMT
Visible light
TPB coated acrylic light guide
a la MicroBoonE
a la LBNE, LAr1-ND
In large neutrino LArTPCs thin profile photo-detectors are desirable to maximize TPC active regions—
L. Bugel et. al. NIM A, 640, (2011)

## Slide 38: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 39
Commercial Argon 1 ppm Oxygen, H2O
Light Detection Test Stand

## Slide 40: “Bo” Light Detection Test Stand
40”, 250 L vacuum-insulated cryostat
  Recently upgraded to 84” (“Tall Bo”)
High purity LAr delivery system
Condenser tower allows for closed system operation

## Slide 41: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 42: Two distinct effects on light collection
LAr scintillation light production may be quenched by impurities
LAr scintillation light en route to a photo-detector may be absorbed by impurities in the bulk material
  No measurements of this existed!
R Acciarri et al 2010 JINST 5 P06003

## Slide 43: The Experiment Setup
Inject controlled quantities of Nitrogen in Bo and look for:
  Differences in the relative amount of light seen from a mono-energetic alpha source as a function of Nitrogen concentration for 2 source-detector distances
210Po source serves as standard candle (5.3 MeV alpha)

## Slide 44
Peak of pulse area distributions decreases as a function of nitrogen concentration
37 ppb
3.7 ppm
7.4 ppm
15.5 ppm

## Slide 45
For a given nitrogen concentration, quenching has the same effect on both source configurations
The fact that the two curves diverge tells us there is a distance-dependent light loss mechanism at play

## Slide 46
Relatively loose purity specifications of ppm-level nitrogen contamination required by current- and next-generation LAr particle physics experiments
B J P Jones et al 2013 JINST 8 P07011 B J P Jones et al 2013 JINST 8 E09001
$$$$
$

## Slide 47: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 48: Why Study Light Production in CH4-doped LAr?
Long electron drift distances demonstrated for CH4 concentrations of several %
Introduces inverse-beta-decay interaction channel ( )
  Potentially broadens low-energy neutrino physics program of LArTPCs
Some evidence in the literature that CH4 may act as a wavelength-shifter
May provide an important input for LAr-based dark matter detectors that produce Ar from underground CO2 wells and rely on light collection
arXiv:1204.6024v2 [astro-ph.IM]

## Slide 49: The Experiment Setup
Inject controlled quantities of CH4 in Bo and look for:
  Quenching and/or absorption of LAr scintillation light
  LAr scintillation light wavelength-shifted to visible light

## Slide 50
For detectors larger than O(1 cm), CH4 concentration should be < O(100) ppb to limit absorption losses to less than a few percent
Quenching is also at observed, but is subdominant
No significant amount of LAr scintillation light is wavelength-shifted to visible
B J P Jones et al 2013 JINST 8 P12015

## Slide 51: Outline
Neutrino Oscillation Physics
  Experimental Approaches
Liquid Argon Time Projection Chambers (LArTPCs)
  MicroBooNE
Liquid Argon Scintillation Light
LAr Light Studies at Fermilab
  Nitrogen Contamination in LAr
  Argon/Methane Mixtures
  Characterizing LAr Light Guide Performance

## Slide 52: Different Wavelength-Shifting (WLS) Coatings
IU spray coatings with WLS melted into surface
  TPB vs. bis-MSB
  Compare 10, 20, 35, & 50 coats
MIT hand-painted TPB coatings
  arXiv:1210.3793 [physics.ins-det]
Tall Bo

## Slide 53: All cosmic data triggering SiPMs
Less light
More light
D. Whittington, IU

## Slide 54
LAr, warm, 245 nm light
D. Whittington, IU
But attenuation lengths measured at room temperature do not track attenuation lengths measured with cosmics in LAr
We would like to evaluate the performance of these light guides by measuring their attenuation lengths at room temperature

## Slide 55: Attenuation Length Measurement
Tall Bo
210Po sources
SiPMs (trigger)
2” Cryogenic PMT
TPB-coated light guide
Set up currently installed in Tall Bo to make this measurement
Expect results soon!

## Slide 56: Preliminary Results

## Slide 57: More LAr Light Studies Yet To Come
MicroBooNE-specific R&D
LAr Scintillation Light Time Constants
Rayleigh Scattering
222Rn Tracing in LAr
Ar/Xe Mixtures

## Slide 58: More LAr Light Studies Yet To Come
MicroBooNE-specific R&D
LAr Scintillation Light Time Constants
Rayleigh Scattering
222Rn Tracing in LAr
Ar/Xe Mixtures

## Slide 59: 222Rn Tracing in LAr

## Slide 60: Mapping LAr Flows
Ion concentration for velocity field (fluid velocity + drift velocity of 8 mm/sec)
E. Voirin, for μBooNE

## Slide 61: 222Rn Tracing
A new technique to map flows in a neutrino LArTPCs
Inject 222Rn into detector and look for correlated 222Rn-218Po decays
  Reconstruct positions to measure flow
222Rn218Po
5.48MeV alpha
3.8 days
218Po214Pb
6MeV alpha
3 minutes
Short- lived
Long- lived
These will remain in your detector, but accelerator-based neutrino experiments only require negligible background in beam window

## Slide 62: We would like to test this idea in Bo
New infrastructure is required
  Field cage (for drift)
  Array of SiPMs (for position reconstruction)
  Radon injection system
We have already located enough Ra at FNAL to generate enough 222Rn for this test!

## Slide 63: Argon/Xenon Mixtures

## Slide 64: Adding O(10 -100 ppm) Xe to LAr
Shifts light to earlier times
  Roughly 3/4 of the LAr scintillation light produced by a MIP is in the slow component with τ = 1.6 μs
  Doping with Xe shifts the time scale of this slow component from O(1 μs)  O(10 ns)
    Easier to collect in a neutrino LArTPC
Wavelength-shifts light to 175 nm
  At concentrations of O(100 ppm) LAr scintillation (late) light is converted to 175 nm
    More efficient detection
We have already made one attempt to inject Xe in Bo, and we would like to pursue this further

## Slide 65: In a Nutshell
LBNE
LAr1-ND
μBooNE
DarkSide
Nitrogen contamination in LAr
Characterizing Light Guide Performance
Rayleigh Scattering
LAr Scintillation Light Time Constants
Argon/Xenon Mixtures
Argon/Methane Mixtures
μBooNE R&D
222Rn Tracing in LAr

## Slide 66: Summary (I Hope I Convinced You That):
Light detection is an important (and often overlooked) part of neutrino LArTPCs
Research in noble liquid light detection cuts across many fields
There is plenty of room for improving our use of light information in noble liquid detectors

## Slide 67: End.

## Slide 68: μBooNE R&D

## Slide 69: PMT Vertical Slice Test
Bo was used to develop a full vertical slice of the μBooNE optical system, including:
8” PMT, base, mount, and wavelength shifting plate
PMT cables and feed through
PMT splitter
High voltage + interlocks
Readout electronics
This was an incredibly valuable resource for the development of a new LAr optical system and led to tweaks in the design of almost every item on the above list

## Slide 70: Quantum Efficiency Studies
128 nm light
450 nm light
210Po source serves as standard candle (5.3 MeV alpha)
Light yield incident on TPB plate predicted from known LAr light yield, alpha energy, and solid angle subtended by plate
Measured photo electrons then gives global efficiency (photoelectrons/incident photon) for input to MC
TPB-coated acrylic plate
Can use this technique for other optical detectors as well

## Slide 71: PMT Reception Testing and B-Field Shield R&D
T Briese et al 2013 JINST 8 T07005
C. Kendziora
B-field Shield Test Stand

## Slide 72: LAr Scintillation Light Time Constants

## Slide 73
R Acciarri et al 2010 JINST 5 P06003
Intermediate LAr scintillation time constant reported by WArP but attributed to PMT instrumental effects
We submitted an NSF grant proposal to study this effect in Bo

## Slide 74: Single Photo-Electron Coincidence Counting
210Po source with wavelength shifter
8” cryogenic (trigger) PMT (multi-PE regime)
2” cryogenic PMT inside enclosed cylinder with pin hole (SPE regime)
6 mm x 6 mm SensL SiPM (SPE regime)
Measure LAr scintillation light time profile in SPE regime and use SiPMs as well as PMTs to understand potential instrumental effects

## Slide 75: Rayleigh Scattering

## Slide 76: In Large ν LArTPCs Rayleigh Scattering is Important
N. Ishida, et. al. NIM A384 (1997) 380-386.
Predicted to be 90 cm ± 35%, which is in rough agreement with the data
G. Seidel, et. al. NIM A489 (2002) 189-194

## Slide 77: Measuring Scattering Lengths in LAr
We would like to study scattering lengths and angular distributions under known purity conditions in Bo
We plan to build a lift system to remotely articulate sources inside Bo
  This a general-purpose tool useful for many future LAr studies
  Design by C. Kenziora based off of system used in Luke
We submitted an NSF grant proposal to study this in Bo

## Slide 78: 222Rn Tracing in LAr

## Slide 79: Mapping LAr Flows
Ion concentration for velocity field (fluid velocity + drift velocity of 8 mm/sec)
E. Voirin, for μBooNE

## Slide 80: 222Rn Tracing
A new technique to map flows in a neutrino LArTPCs
Inject 222Rn into detector and look for correlated 222Rn-218Po decays
  Reconstruct positions to measure flow
222Rn218Po
5.48MeV alpha
3.8 days
218Po214Pb
6MeV alpha
3 minutes
Short- lived
Long- lived
These will remain in your detector, but accelerator-based neutrino experiments only require negligible background in beam window

## Slide 81: We would like to test this idea in Bo
New infrastructure is required
  Field cage (for drift)
  Array of SiPMs (for position reconstruction)
  Radon injection system
We have already located enough Ra at FNAL to generate enough 222Rn for this test!

## Slide 82: Argon/Xenon Mixtures

## Slide 83: Adding O(10 -100 ppm) Xe to LAr
Shifts light to earlier times
  Roughly 3/4 of the LAr scintillation light produced by a MIP is in the slow component with τ = 1.6 μs
  Doping with Xe shifts the time scale of this slow component from O(1 μs)  O(10 ns)
    Easier to collect in a neutrino LArTPC
Wavelength-shifts light to 175 nm
  At concentrations of O(100 ppm) LAr scintillation (late) light is converted to 175 nm
    More efficient detection
We have already made one attempt to inject Xe in Bo, and we would like to pursue this further

## Slide 84
Papers from LAr light studies at Fermilab
Published
Papers
Whitepaper
for LIDINE
LIDINE
Proceedings
(Peer
Reviewed)

## Slide 86: MicroBooNE Sensitivities (6e20 POT)
Low energy excess events are electrons
Low energy excess events are photons

## Slide 87
u
v
y
U
V
Y
Time (ms)
Drift Distance (cm)
Charge Signal Formation
Current
Out of Wire
Induction
(small, bipolar)
Induction
(small, bipolar)
Collection
(large, unipolar)
3 mm
Bo Yu (BNL)

## Slide 88
Ambiguity occurs if track is parallel to wire plane…
2 wire planes
X
Y
T
X
T
Y
T
n

## Slide 89
Ambiguity occurs if track is parallel to wire plane…
3 wire planes
X
Y
T
X
T
Y
T
U
T

## Slide 90: Warm amps S/N = 15
wire
wire
Raw Data
Raw Data
Amps in liquid S/N >30
Drift Time
Drift Time
wire
Carl Bromberg

## Slide 91: LArTPCs: A Historical Perspective
1968: L.W. Alvarez proposes the use of Liquid Noble Gases for particle detectors
1974: W. Willis and V. Radeka propose the use of LAr ionization chambers
1977: Carlo Rubbia proposes LArTPC for neutrino physics
1985: ICARUS proposal at Gran Sasso

## Slide 92: LAr scintillates at 128 nm
E Morikawa et al., J Chem Phys vol 91 (1989) 1469

## Slide 93: MIT LAr Studies Program
We have performed both experiment-specific and generic R&D with the Bo high purity test stand over the past 2 years
We are responsible for the light detection system in MicroBooNE
We first proposed LAr light guide detectors, which are integral to the LBNE reference design
arXiv:1101.3013v1 [physics.ins-det]

## Slide 94: Pulse shape discrimination

## Slide 95: Nitrogen Absorption Sanity Check