## Slide 1: Status of the laser probelines
Henrik Ekerfelt
E300 Collaboration meeting

## Slide 2: Outline
Current setup
Future upgrades and changes

## Slide 3: Probelines
E324: Lithium oven probe
EOS BPM: Laser and e-beam timing and e-beam positioning
Shadowgraphy: Gas-jet shadowgraphy probe
Ionizer: Transverse laser beam ionizing the gas jet

## Slide 4: IP area

## Slide 5: IP area
Picnic Basket
Laser compressor
Lithium oven
Laser transport

## Slide 6: IP area
Picnic Basket
Laser compressor
Lithium oven
Laser transport
Probe compressor

## Slide 7: IP area
Picnic Basket
Laser compressor
Lithium oven
Laser transport
Probe compressor

## Slide 8: IP area
Beamsplitter 1
Beamsplitter
EOS/E324
Beamsplitter
Ionizer/shadowgraphy

## Slide 9: IP area
Beamsplitter 1
Beamsplitter
EOS/E324
Beamsplitter
Ionizer/shadowgraphy

## Slide 10: Delay lines
EOS/Master
E324
Ionizer
Shadowgraphy

## Slide 11: IP area
EOS Periscope
E324 Periscope
Ionizer periscope
Shadowgraphy periscope

## Slide 12: IP area
EOS Periscope
E324 Periscope
Ionizer periscope
Shadowgraphy periscope

## Slide 13: IP area
EOS
E324
Ionizer
Shadowgraphy

## Slide 14: IP area
EOS
E324
Ionizer
Shadowgraphy

## Slide 15: IP area
EOS
E324
Axicon beam

## Slide 16: IP area

## Slide 17: Probelines
E324: Imaging tested, now misaligned
EOS BPM: 1 ZnTe crystal aligned to find t0
Shadowgraphy: Aligned with microscope objective installed
Transverse ionizer: Aligned with focus imaging installed
All probelines tested, 3 out of 4 currently aligned

## Slide 18: Future plans
Verify probe pulse length
E324 and Shadowgraphy will be converted to 400 nm
Simultaneous timing for all probelines need to be verified
Trojan horse probeline

## Slide 19: Summary
Original plan is finally implemented
Need some experience operating in different configurations
Looking at future capabilities

## Slide 20: Thank you!
henrik.ekerfelt@slac.stanford.edu