## Slide 1: KID-based phonon-mediated detectors
presented by Osmond Wen1
in collaboration with Taylor Aralis1, Ritoban Basu Thakur1,2, Bruce Bumble2, Yen-Yung Chang1, Lauren Hsu4, Noah Kurinsky3, Karthik Ramanathan1, Brandon Sandoval1, Zoe Smith3, Dylan Temples4, and Sunil Golwala1
1 2 3 4
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 2: A particle detector shopping list
highly energy resolving
  sub-eV energy thresholds for sub-GeV dark matter
event reconstruction
  position sensitivity
  event-type discrimination
   requires pixelized and multiplexed readout
 | Dark Matter | Neutrinos
sub-eV energy thresholds | sub-GeV dark matter, both nuclear- and electron-recoiling | sensitivity to p-p solar neutrinos
event reconstruction | background rejection nuclear recoils vs electron recoils (DM & CEνNS searches) scintillation backgrounds (CUORE/0νDBD) detector surface backgrounds (SuperCDMS) | 
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 3: Kinetic inductance detectors
superconducting microwave resonator
  phonons in substrate  broken Cooper pairs  shifted resonance and RF transmission
  two quadrature readout of RF transmission: dissipation and frequency
  key advantage: natively multiplexable, i.e. simultaneous readout of many resonators coupled to one feedline  enables position reconstruction for rejecting surface backgrounds
type of noise | affected quadrature | source/description of noise
amplifier white noise | both | thermal noise from the cryogenic amplifier (typically at 4K)
two level systems | only frequency | loss from surface defects, e.g. metal oxides
generation-recombination (fundamental) | both | poissonian noise of Cooper pairs breaking and then recombining
Main sources of noise
|transmission|
frequency
frequency
dissipation
Kinetic inductance phonon-mediated detectors: KIPM detectors
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 4: Phonon imaging with a KIPM detector
80-resonator KIPM detector pulsed with a 475nm LED and ~50 good resolution resonators were asynchronously readout
different “prompt” responses based off position
similar “delayed” responses
blue dot = good resolution resonator
phonon movie!
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 5: Energy resolution of KIPM detectors
energy reconstruction with multiplexed phonon sensors
        : quadrature sum of multiplexed sensor response
        : resolution on energy absorbed by a phonon sensor; “intrinsic energy resolution”
        : phonon collection efficiency
calibrated a single resonator KIPM detector at Fermilab using shot noise of optical photons
  Lederman Fellow Dylan Temples
  millisecond lifetimes achieved with readout chain IR shielding
device parameters | 
 | 1
 | 0.8%
 | 2.5 eV
 | 320 eV
device parameters | 
 | 1
 | 0.8%
 | 2.5 eV
 | 320 eV
optical fiber
ms lifetimes!
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 6: Phonon physics of the substrate
Why is the phonon collection efficiency ph so poor? What are the dominant loss mechanisms?
  down-conversions in high-gap materials (feedline, bond pads)
    recent simulations: these materials are more down-converting than expected
    current workplan: remove as much high-gap material as possible
  mounting
In progress: Geant4 simulations to study how superconducting sensors impact the phonon distribution in the substrate
  Ryan Linehan (FNAL)
silicon
sensor
high-gap material
high-gap material
mounting
mounting
loss
loss
peaked due to recombination phonons
Energy spectrum of phonons leaving the sensor
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 7: Limitations on
large KIPM detector showed hugely varying transmission and resonator quality factors
  hypothesis: RF excitations of the physical box and poor grounding of the CPW feedline
for amplifier-dominated noise, variations in are due to RF responsivity
@ optimal RF responsivity, given by:
580meV
190meV*
7.5cm
!
RF responsivity:
film responsivity
transmission
transmission variation
*assumes no TLS
capacitor
inductor
ground
ground
signal
feedline
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 8: Limitations on
Two-level systems (TLS) are present in surface oxides and contribute noise in the capacitor
  TLS cause fluctuating epsilon, leading to dissipation and thus noise (F-D theorem)
  only affects frequency quadrature
We have seen some amount of TLS noise in all our detectors, regardless of capacitor metal choice
silicon
aluminum
SiO2
Al2O3
frequency readout
dissipation readout
Noise levels
capacitor
TLS will limit in the frequency quadrature to ~1-5eV
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 9: Toward quantum-limited amplification
Operated a KIPM detector with a kinetic inductance traveling wave parametric amplifier
  a carefully engineered transmission line that uses a non-linearity in the kinetic inductance of Cooper pairs to amplify a signal in an essentially lossless manner
purple = necessary components
green = helpful components
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 10: Toward quantum-limited amplification
in-depth look at one resonator reveals TLS noise – not surprising
faded = KI-TWPA off solid = KI-TWPA on
(blue, green, red) = (lowest, medium, highest) readout power
first ever KI-TWPA amplified phonon-mediated particle detection!
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 11: Toward quantum-limited amplification
noise improvement across all resonators inhibited to some level by TLS noise
KI-TWPA and SQL lines are calibrated with an in situ blackbody load calibration
Failure to reach SQL is largely attributable to the losses in the lines that arise from passive components that are needed or helpful for operation
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 12: KIPM detectors: summary
Surface backgrounds in rare event search experiments present a need for event reconstruction
  KIPM detectors are natively multiplexable and can directly provide this functionality
Beginning to understand what is needed for sub-eV energy resolutions, which will enable sub-GeV dark matter sensitivity
different “prompt” responses based off position
similar “delayed” responses
 | (freq.) | (diss.) | ph = 30%
current performance | 2.5eV | 7.5eV | 8.3eV*
@ optimal RF resp. | TLS-limited | 580meV | 1.9eV*
SQL amplifier |  | 140eV | 460meV*
QIS: noiseless gain & vacuum squeezing |  | 10meV | 35meV*
current performance | 2.5eV | 7.5eV | 8.3eV*
@ optimal RF resp. | TLS-limited | 580meV | 1.9eV*
SQL amplifier |  | 140eV | 460meV*
QIS: noiseless gain & vacuum squeezing |  | 10meV | 35meV*
need to reduce ?
(GR noise)
*projection
literature value
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary

## Slide 13: KIPM detector consortium
a multifaceted approach to developing the next generation of particle detectors
We are a broad consortium of individuals and institutions dedicated to this cause, with multiple fridges, cleanrooms, and high-performance computing clusters at our disposal.
  Caltech & JPL: fabrication and device testing (the birthplace of KIDs and KI-TWPAs)
  Fermilab: detector deployment in a low background environment
  SLAC: fabrication and device testing (up and coming!)
In April of this year, Caltech hosted a hybrid remote workshop on KIPM detectors with attendance from 22 people across 8 institutions
  We convene over Zoom every six weeks to catch up on KIPM detector related work
  Please let me know if you are interested in attending! You can reach me at owwen@caltech.edu
Overview
Position & energy performance
KIPM detector + KI-TWPA
Summary