## Slide 1
Ultrafast, optical diagnostics of FEL pulses and extending this to electron pulses
Pamela Bowlan, Los Alamos National Lab, pambowlan@lanl.gov
Contributors to our work: William Peters,1 Travis Jones,1,3 Francesca Elverson,1 Jacob Feltman,1 Anatoly Efimov,1 Patrick Skrodzki,1 Alex Scheincker,1 Sanghoon Song,2 Matthieu Chollet,2 Joseph Robinson,2 Emanuele Pedersoli,4 Riccardo Mincigrucci,4 David Gauthier,1 Ivaylo Nikolov,4 Rick Trebino,1 Miltcho B. Danailov, 4 Flavio Capotondi,4 Laura Foglia,4 Filippo Bencivenga,4 Ryan Coffee,2,5
1Los Alamos National Laboratory, Los Alamos, NM, USA
2Linac Coherent Light Source, SLAC National Accelerator Laboratory, CA, USA
3School of Physics, Georgia Institute of Technology, Atlanta, GA, USA
4Elettra-Sincrotrone, Basovizza, Trieste, ITALY
5Stanford Pulse Institute, Stanford, CA, USA
LA-UR-23-32590

## Slide 2
To use femtosecond pulses of any kind, you have to be able to measure them.
N. Hartmann et al., Nature Photonics 12, 215–220(2018)
FEL X-ray pulse shapes changes shot-to-shot
Measuring the pulses allows for optimizing them, e.g. to generate shaped or attosecond pulses.
FEL pulse shaping strategies
G. De Ninno, PRL, (2013), D. Gauthier, PRL (2015) or Marinelli, PRL, (2016)
The arrival time with respect to the optical laser also fluctuates
Optical/XFEL drift (fs)

## Slide 3: How do you measure the shortest events?
Electronics are typically not sub-ps. The only fast-enough time-gates to measure femto-to-attosecond XFEL or electron pulses are the pulses themselves or optical laser pulses.

## Slide 4: The way that we measure optical femtosecond pulses
SHG crystal
Time (t)
Intensity()
Any fast nonlinear optical process can serve a time gate for measuring ultra short pulses (slower process work also, if the response is known).
SHG and other nonlinear optical processes are instantaneous interactions between two or more fields.

## Slide 5: How can you measure x-ray FEL pulses?
FROG uses an instantaneous nonlinear optical effect as a time-gate. Challenge: At high frequencies, the light-matter interaction is dominated by photoionization which is long-lived. The interaction of electrons with mater is similar to that of ionizing radiation.
SHG
crystal
Pulse to be measured
Variable delay, t
Camera
Spec-
trometer
Beam
splitter
E(t)
E(t–t)
Esig(t,t) = E(t) E(t-t)
Frequency-Resolved Optical Gating (FROG)
Pulse
Example:
Frequency
Delay
FROG Trace
See: R. Trebino, “Frequency-Resolved Optical Gating: The Measurement of Ultrashort Laser Pulses”, Springer (2000)

## Slide 6
Ionizing radiation changes the optical properties. The onset of this change can give laser/XFEL timing information with few-fs time-resolution.
Depending on the material response the pulse shape may also be encoded in this signal.
See: Hartmann et. al., Nat. Photon., 8, (2014), and Droste et al., Opt. Express (2020)
Encoding an X-ray pulse’s arrival time in an optical beam (the time-tool)

## Slide 7: Can we separate out the fast, coherent part of the response and use this a fs-time-gate?
F. Capotondi, et al, J Synchrotron Rad 25, 32-38 (2018)
Past transient grating measurements at FERMI showed a faster, time-resolution limited response when scanning the delay between the grating pulses.
FEL-pulse delay scan
Optical delay-scan

## Slide 8
TG FROG in the eXtreme UltraViolet at FERMI
We used the EUV, optical probe TG experiment at DiProI at FERMI with an imaging spectrometer for detection.
W. Peters et al., Optica (2021)
Notes: DiProI end-station

## Slide 9
W. Peters et al., Optica (2021)
TG FROG in the eXtreme UltraViolet at FERMI
To measure single-shot spectrograms, we take advantage of the time-smearing between the EUV pulses, and remove it from the probe pulse by with pulse-front-tilt

## Slide 10
Travis Jones et al., Opt. Express (2021)
Simple model of the response:
TG FROG in the eXtreme UltraViolet at FERMI
In the extreme UV, we found that the phase we encoded in the optical signal so we could retrieve the electric field of single FEL pulses

## Slide 11
TG FROG in the EUV at FERMI
Standard mode
Chirped seed
Multi-pulse
The spectra are plotted in comparison to independent spectra
measurements.
The grey curves in (d) show the pulse-to-pulse fluctuations.
See: W. Peters et al., Optica (2021).

## Slide 12
Measuring hard x-ray FEL pulses
For TG, we misaligned the split and delay line at the X-ray Correlation Spectroscopy (XCS) hutch at LCLS so that the x-ray beams crossed.
Micrometer-scale spatial fringes seen on a YAG screen
Another recent x-ray TG experiment but using a grating to interfere the x-ray beams: Rouxel, J.R., Fainozzi, D., Mankowsky, R. et al., Nat. Photonics (2021).

## Slide 13
The TG signal versus the x-ray, x-ray delay yields a cross correlation
We could not see any phase information. The left image is the average spectrum of the XFEL pulse. Timing jitter may be obscuring the phase information, or it may just be very weak.
See Peters et al. Optics Express, (2023)

## Slide 14
What about measuring femtosecond electron pulse shapes, and timing?
THz or rf streaking for timing and measuring electron pulse shapes
Electron pulse induced changes in the IR transmission of germanium were observed (like the LCLS time tool for electrons).
From: Filippetto et all, Rev. Mod. Phys. (2023)
From: Cesar et. al. APL (2015)
Notes: Pegasus, is based on EOS
(electro-optic sampling), 19 and, similar to other TOA mea-
surement schemes, has been limited to charges >5 pC. We
note here that a cavity-pickup based sub-pC diagnostic simi-
lar to existing cone shaped pick ups 11 has been recently
proposed. 20

## Slide 15
Why use optical encoding for electron pulse measurement?
Materials in Extreme conditions experiments require, single shot high repetition rate diagnostics
Electron pulse train
Nonlinear medium
Having an optical readout gives access to high-speed optical detectors and should be more sensitive with electron pulses.
See Filippetto et al., Rev. Mod. Phys. (2023)

## Slide 16
This work was funded by LDRD grant 20180242ER and 20220074DR
Conclusions: Electron pulse measurement and timing with respect to the optical laser is needed for a UED beamline.
This can be done with THz or RF streaking. Using electron-pulse-induced changes in optical transmission is another promising option due to its simplicity, sensitivity, and the potential to use high speed detectors and cameras
Future work: Measuring shaped pulses, shorter pulses and higher photon energy pulses at the EUV FEL FERMI
Recent shaped pulse FROG measurements at FERMI (EUV FEL)

## Slide 17
The TG signal versus the x-ray, x-ray delay in other materials
With only 5 µJ of x-ray energy in a 100 x 400 µm spot size, we could easily see a TG signal in BGO, YAG, ZnO and PbWO4.
The signal in ZnO was largest perhaps because it has an x-ray absorption edge near 10 keV.

## Slide 18
The TG signal versus the probe delay
Bismuth germanate (BGO)
τlaser
See: Rouxel, J.R., Fainozzi, D., Mankowsky, R. et al., Nat. Photonics (2021).
Spectro-
meter
As in previous work at 7 keV we see the ~2.5 THz oscillations from a phonon excitation.
Notes: a 400 μm x 5 μm illuminated area at the sample position with up to 5 μJ per pulse

## Slide 19
The TG signal versus the laser probe delay in different materials
We see similar 2-3 THz oscillations in YAG and ZnO, both of which also have THz-range phonons.
For phonon frequencies see: Xiaojian Fu, et al., Journal of Electromagnetic Waves and Applications, (2013)
Notes: Xiaojian Fu, Yunsheng Guo & Ji Zhou (2013) Terahertz optical parameters and lattice vibration-induced resonance of Er3+-doped Y3Al5O12 crystal, Journal of Electromagnetic Waves and Applications, 27:14, 1792-1799, DOI: 10.1080/09205071.2013.823569 2.4 THz
Polarization??

## Slide 20
See: T. Jones et al., Opt. Express (2021) or F. Capotondi et. al., J. Synchrotron Rad. (2018)
Can we Isolate the fast part of the response? Tests in the UV with transient grating
Scanning the probe delay
Transient grating (TG)
ZnS
During pulse overlap, there is coherent four-wave mixing which preserves the phase.
Scanning the grating-pair delay
Instantaneous medium
Notes: Encode the high frequency field in a low frequency signal

## Slide 21
Tests in the UV: Using photoabsorption as a fast time-gate.
Travis Jones et al., Opt. Express (2021)
With phase retrieval algorithm, the pulse can be extracted.
Simple model of the response:

## Slide 22
Satisfying phase matching, or the Bragg condition
Monitoring the interference fringes on a YAG screen, we set the crossing angle to 6.0 millidegree to make 1.2 μm fringes.
Tuning the split and delay mirrors to set the crossing angle.
θ opt = 9.7◦
θ xray = 0.006◦
Phase matching: sinθopt =
(λopt / λxray) sinθxray